## Slide 1
Integrated Alarm System for the ALMA Observatory
EU funded ALMA development project
Erich Schmid
ESO ALMA Support Centre - ALMA Computing

## Slide 2: Overview
Motivation – why do we need this?
Approach – doing things the right way
Status update – what has happened so far?
Next steps – how do we bring this into production?

## Slide 3: Motivation
ALMA is much more than 66 antennas, a correlator and a database
Every component is important and must be monitored centrally 24/7
Consistent representation of alarms to avoid misjudgements
Increase system stability and hence operational efficiency
Notes: Power generation and distribution, networking equipment, HVACs, etc.
At the moment alarms are inconsistent
Main motivation is efficiency

## Slide 4: Things to be monitored (not complete)

## Slide 5: What we have today
The ACS alarm panel (red circle) is the only official source of alarm notifications to the array operators
  Only tabular representation, no situational awareness
  Can by design never cover everything
  Only available when the online software is running
Many prototype tools to cover the gaps – no consistency
Many “blind spots”
A good (bad) chance to miss out on important alarms or react too late
Notes: Designed to be the ALMA SW alarm system only
Now showing several examples

## Slide 6: ACS Alarm Panel

## Slide 7: OMC

## Slide 8: Critical Antenna Devices by AOG

## Slide 9: Device Map by OMC+HCI

## Slide 10: AOG Alarm Panel

## Slide 11: Email Alarm Notification

## Slide 12: Approach
Small internal study to determine requirements
  Funds from ESO to cover travel and contracts
  Collaboration of all ALMA partners
  Contracts with experts
  Started in October 2015, completed in June 2016

## Slide 13: Status update
Identify all the relevant hardware and software systems. ✔
Document the existing alarm systems and available interfaces to access relevant data. ✔
Engage an external alarm system expert (ESA) ✔
Engage a human-computer interface expert (INRIA) ✔
Compile a report to stipulate the requirements for an integrated alarm system. ✔
Write a proposal for the upcoming call for ALMA development projects to design, implement and deploy an integrated alarm system. ✔

## Slide 14: Overview of ESA model
Intuitive overview of the monitored information
Notes: Alarm is to abnormal condition what a notification is to

## Slide 15: Overview of ESA model
Hierarchical model with alarm propagation
Notes: Alarm is to abnormal condition what a notification is to

## Slide 16: Overview of ESA model
Hierarchical model with alarm propagation
Notes: Alarm is to abnormal condition what a notification is to

## Slide 17: Overview of ESA model
Hierarchical model with alarm propagation
Notes: Alarm is to abnormal condition what a notification is to

## Slide 18: Overview of ESA model
Property X
Value
Validity
Alarm
Qualified values
Notes: Alarm is to abnormal condition what a notification is to

## Slide 19: Overview of ESA model
Heterogeneous source – Homogeneous representation!
Property X
Value
Validity
Alarm
Notes: Alarm is to abnormal condition what a notification is to

## Slide 20: Alarm panel mock-ups
Observatory Overview Panel
Notes: Will never be covered by other windows, dialogs

## Slide 21: Alarm panel mock-ups
Array elements

## Slide 22: Alarm panel mock-ups
Visualization techniques

## Slide 23: Alarm panel mock-ups
Weather reporting

## Slide 24: Alarm panel mock-ups
Power generation

## Slide 25: Alarm panel mock-ups
Buildings

## Slide 26: Alarm panel mock-ups
Observations

## Slide 27: High-level Architecture

## Slide 28: Next steps
Started prototyping
Start project in Jan 2017
Project duration ~ 2 years
Total effort required ~ 3.1 FTE years
  1.6 ESO ISM Garching (0.8 FTE over 2 years)
  1.5 ESO Contractor Santiago (1.0 FTE over 1.5 years) - TODO
Run as open-source project in Github

## Slide 29: Next steps
Design to be ready by end Q1 2017
Meeting with CTA in mid December
Subsystem scientists confirmed
  Emilio Barrios (Operator)& Bernhard Lopez (Engineering)
Create Project Management Plan
Light-weight design reviews
  Panel members?

## Slide 30: That’s all!